## Slide 1: Grid Defense Against Malicious Cascading Failure
Paulo Shakarian, Hansheng Lei
Dept. Electrical Engineering and Computer Science, Network Science Center, U.S. Military Academy, West Point, NY
Roy Lindelauf
Netherlands Defense Academy
Faculty of Military Science
Military Operational Art and Science
Netherlands Defense Academy

## Slide 2: Power Grid Cascading Failure
T
D
G
G
G
G
G
T
T
T
D
D
D
D
D
D
The power grid is heterogeneous – meaning large scale reconnaissance is difficult. However, to cause a cascade, the adversary may need to recon and attack a small portion of the power grid.

## Slide 3: Outline
Introduction
Power grid modelling
Computational complexity
Algorithms
Experimental evaluation
Conclusion

## Slide 4: Introduction
Cascading failure
Widespread power outages, observed in the US in 2003
Internet connectedness such networks can come under cyber attack, causing severe problems
A failure can be initiated with only a small number of initial node failures
Power grid infrastructure vulnerable with respect to cyber-security due to a variety of issues
Notes: “The 2003 blackout's primary cause was a software bug in the alarm system at a control room of the FirstEnergy Corporation in Ohio. Operators were unaware of the need to re-distribute power after overloaded transmission lines.” --http://en.wikipedia.org/wiki/Northeast_blackout_of_2003

## Slide 5: The Model
The Attacker conducts cyber-attacks against power grid infrastructure to disable certain substations that lead to a cascading failure
The Defender. Can harden a limited number of systems to prevent the attacker from causing them to fail

## Slide 6: Assumptions
The defender cannot defend everything – as he can only take a small number of systems offline for maintenance
The defender should be able to defend (patch, update) systems according to a schedule that will prioritize different systems at different times
Deterministically focusing on only a few systems will allow the adversary to exploit the weaker, generally unpatched systems

## Slide 7: Related work
Cascading failure models
Edge failure based on excessive loads
Power-flow mode
We focus more on strategies: explore strategies for attack and defense
Game theory
Game theory used in monitoring and decision making in smart grids. However, no game theoretic approach has been given for this specific problem

## Slide 8: Problem
Attacker attempts to create a cascade that maximizes the impact of power failures while the defender defends key nodes to avoid a major outage

## Slide 9: Our contribution
Derive a mathematical model for an attacker/defender game for smart grid failure
Analyze the time complexity of a various type of strategies
Presented heuristic greedy algorithm, linear program optimization, and double-oracle simulation
Performed Initial experiments on a real-world dataset
Inside Findings!

## Slide 10: power-grid network modelling
A power-grid network modeled as an undirected
graph G = (V;E). Vsrc, Vld be source (producers of power) and load (consumers of power) on the network
Key definitions:

## Slide 11: power-grid network modelling
Key definitions

## Slide 12: power-grid network modelling
Key definitions

## Slide 13: Computational Complexity

## Slide 14: Computational Complexity

## Slide 15: Algorithms

## Slide 16: Algorithms

## Slide 17: Algorithms

## Slide 18: Experimental Evaluation
Dataset: an Italian 380kV power transmission grid.
310 nodes, 113 were source, 96 were load, and the remainder were transmission nodes
the nodes were connected with 361 edges representing the power lines.
All experiments were run on a server with
An Intel X5677 Xeon Processor, 3.46Ghz with12 MB Cache
288 GB of physical memory.
Hat Enterprise Linux version 6.1.

## Slide 19: Experimental results: run-time

## Slide 20: Experimental results: double oracle
Chart: Iterations
ka=kd=1 | 47 | 21.6 | 30 | 25.12 | 30 | 26.56 | 30 | 27.34 | 30 | 27.8 | 30 | 28.17 | 30 | 28.42 | 28.42
ka=kd=2 | 80 | 39.19 | 55 | 38.67 | 55 | 42.66 | 47.25 | 46.37 | 65 | 49.11 | 51.73 | 50.65 | 49.08 | 50.06 | 50.1 | 50.55 | 50.44 | 50.76 | 50.85 | 50.98 | 50.94 | 50.94
ka=kd=3 | 85 | 43.02 | 72 | 42.93 | 78.99 | 57.98 | 58.59 | 63.78 | 60.58 | 60.28 | 60.44 | 59.38 | 59.12 | 62.26 | 61.91 | 62.17 | 64.1 | 62.71 | 62.36 | 62.32 | 62.46 | 62.65 | 62.74 | 62.69 | 62.5 | 62.32 | 62.33 | 62.31
ka=kd=4 | 82 | 60.1 | 78 | 59.26 | 79.68 | 77.68 | 65.13 | 71.11 | 68.22 | 68.59 | 67.03 | 69.19 | 69.12 | 69.53 | 69.5 | 69.64 | 69.33 | 68.9 | 68.37 | 69.57 | 68.65 | 69.13 | 68.16 | 68.5 | 68.68 | 68.59 | 68.65 | 68.71 | 68.67 | 69.04 | 68.8 | 68.43 | 68.42 | 68.5 | 68.38 | 68.25 | 68.76 | 68.83 | 68.72
ka=kd=5 | 86 | 65.04 | 80 | 61.65 | 84.99 | 57.85 | 76.62 | 71.69 | 72.61 | 69.43 | 67.42 | 71.77 | 70.68 | 71.92 | 68.75 | 74.27 | 70.85 | 70.78 | 71.1 | 71.26 | 71.44 | 71.27 | 71.74 | 71.92 | 71.84 | 71.59 | 72.15 | 78.15 | 72.51 | 72.41 | 71.44 | 71.9 | 71.37 | 71.53 | 71.83 | 71.43
ka=kd=6 | 89 | 88.03 | 84.07 | 82.28 | 64.75 | 82 | 68.18 | 77.98 | 79.16 | 72.97 | 76.67 | 69.57 | 72.49 | 73.88 | 71.99 | 73.71 | 72.13 | 73.15 | 73.28 | 73.39 | 72.59 | 73.54 | 75.03 | 75.62 | 74.5 | 73.18 | 71.95 | 72.81 | 72.96 | 72.61 | 73.71

## Slide 21: Experimental results: double oracle
Chart: Iterations (ka fixed at 1)
kd=1 | 21.6 | 30 | 25.12 | 30 | 26.56 | 30 | 27.34 | 30 | 27.8 | 30 | 28.17 | 30 | 28.42 | 28.42
kd=2 | 21.6 | 30 | 18.31 | 30 | 21.81 | 30 | 23.48 | 30 | 23.48 | 30 | 25.03 | 25.37 | 27 | 24.97 | 25 | 24.77 | 24.74 | 24.74
kd=3 | 21.6 | 30 | 18.31 | 30 | 21.81 | 30 | 22.74 | 30 | 22.27 | 30 | 24 | 23.26 | 27 | 23.22 | 25 | 22.91 | 24 | 22.5 | 24 | 22.66 | 22.22 | 22.22 | 22.16 | 22.13 | 22.13
kd=4 | 18.31 | 30 | 21.81 | 30 | 22.74 | 30 | 22.27 | 30 | 22.27 | 27 | 23.3 | 25 | 21.82 | 24 | 21.62 | 24 | 21.36 | 20.97 | 20.97 | 20.25 | 20.21 | 20.19 | 20.12 | 19.89 | 19.9 | 19.99 | 19.93 | 19.91 | 19.91
kd=5 | 18.31 | 30 | 21.81 | 30 | 22.74 | 22.27 | 30 | 20.5 | 20 | 27 | 20.47 | 24.99 | 20.34 | 23.99 | 20.14 | 24 | 20.26 | 18.46 | 19.04 | 20 | 19.09 | 18.57 | 18.4 | 18.23 | 18.2 | 18.1 | 18.03 | 18.01 | 17.92 | 17.99 | 17.95 | 17.99 | 17.95 | 17.99 | 17.95 | 17.99 | 17.96 | 17.94 | 17.94
kd=6 | 18.31 | 30 | 21.81 | 30 | 22.74 | 30 | 22.27 | 30 | 20.5 | 20 | 27 | 20.47 | 24.99 | 20.34 | 23.99 | 20.14 | 24 | 19.85 | 19.04 | 19.99 | 19.04 | 18.5 | 18.09 | 17.94 | 18 | 18 | 18 | 17.6 | 18 | 17.57 | 17.25 | 17.32 | 17.17 | 17.11 | 17.08 | 17.03 | 16.97 | 17 | 16.96 | 17 | 16.94 | 17 | 16.94 | 16.89 | 16.88

## Slide 22: Findings

## Slide 23: Findings

## Slide 24: Findings
Chart: Resources (ka=kd)
Minimax Defense | 28.42 | 50.94 | 62.31 | 68.68 | 71.27 | 75.04
DLB Defense | 28.42 | 50.94 | 63.73 | 68.68 | 77.88 | 79.25

## Slide 25: Findings
Chart: Resources (ka=kd)
Minimax Defense | 28.42 | 50.94 | 62.25 | 68.66 | 74.19 | 80.18
DLB Defense | 47 | 80 | 85 | 82 | 86 | 89

## Slide 26: Conclusion
We explored complexity, algorithmic, and implementation issues in a two-player security game where the attacker/defender look to create/mitigate cascading failure on a power grid.
Future work
    Further experiments on other datasets
    Further studies to understand how to employ the defense
    schedule in a real-world setting
    Larger network, distributed algorithms

## Slide 27: Questions?